# SWMS 117 – PARTITION INSTALLATION

| NOTE: This industry standard SWMS template has been made accessible by Breffni Ceilings & Partitions Pty Ltd, to be used as a guide only. The sub-contractor/user is entirely responsible for its contents at the point of submission. Therefore, please ensure that every section is reviewed and personalised in full. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - PROJECT DETAILS |  |  |  |  |  |
| Project Name: |  | Project Address: |  |  |  |
| Client Name: |  |  |  |  |  |
| Description of Work (Scope): | COMMERCIAL FITOUT |  | DOORS |  |  |
|  | PARTITIONS |  | PLASTERBOARD |  |  |
|  | FLOORING |  | HOT WORKS |  |  |
|  | CEILINGS |  | OTHER |  |  |
|  | ALUMINIUM FRAMING |  |  |  |  |
|  | GLASS |  |  |  |  |
| High Risk Construction Work: |  |  |  |  |  |
| Date Work is to Commence: |  | Duration of Work: |  |  |  |
| Person Responsible for Monitoring Activity: |  | Name: |  |  |  |
| Job Number: |  | Issue: |  | A |  |

| - CONSULTATION |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| THIS PROJECT RISK ASSESSMENT HAS BEEN DEVELOPED IN CONSULTATION WITH THE FOLLOWING WORKERS: |  |  |  |  |  |  |  |
| Issue: | Name: | Position: | Date: | Issue: | Name: | Position: | Date: |
| A |  |  |  |  |  |  |  |

| - MONITORING AND REVIEW OF CONTROL MEASURES |  |
| --- | --- |
| Pre-Start | Pre-start meetings are held to review control measures and ensure workers are aware of controls. |
| Ongoing Monitoring | Project Manager will continually monitor works against the controls stated in this safe work method statement. The Health and Safety Checklist is used to document formal inspections of the works and work area. |
| Annual | This safe work method statement is reviewed annually or as required. |
| NON-CONFORMANCE | Should any aspect of this SWMS not be complied with, work affected by the non-compliance must cease. The Project Manager will either enforce the controls as stated by the SWMS or, where appropriate, review the SWMS in consultation with workers and update with more suitable controls provided the revised controls still ensure that the hazards / risks are controlled as far as reasonably practicable. |

| - PERSONAL PROTECTIVE EQUIPMENT |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Uniform | Footwear | High Vis’ | Safety Helmet | Protective Eyewear | Face Shield | Fall Arrest | Gloves | Hearing | Dust Mask | Respirator | Other | PPE. Notes (e.g. P2 Dust Mask, etc.) |
|  |  |  |  |  |  |  |  |  |  |  |  | Other mandatory site PPE as advised by Client or PC. |

| - PLANT AND EQUIPMENT REQUIRED FOR THIS ACTIVITY | Maintenance/Checks/Tests |
| --- | --- |
| Electric Tools | 3 monthly electrical test and tag, visual inspection before use to ensure in good condition. |
| Elevating Work Platform (EWP) | Prestart Check as per Logbook. |
| Travel Restraint Equipment | 6 and 12 monthly inspection, visual inspection before use to ensure in good condition. |
| Fall Arrest Equipment | 6 and 12 monthly inspection, visual inspection before use to ensure in good condition. |
| Ladders/trestles/planks | Visual inspection before use to ensure in good condition. |
| Glass suckers/vacuum lifters | Visual inspection before use to ensure in good condition. Test load lift close to ground prior to use. |
| Angle Grinder | 3 monthly electrical test and tag, visual inspection before use to ensure in good condition. |

| - CHEMICALS |  |  |  |
| --- | --- | --- | --- |
| Chemical Name | Hazardous? | SDS Attached | Controls |
| Plaster compounds | Yes No | Yes No | As per Safety Data Sheet |
| Silicone | Yes No | Yes No | As per Safety Data Sheet |
| Adhesives | Yes No | Yes No | As per Safety Data Sheet |
| Liquid Nail | Yes No | Yes No | As per Safety Data Sheet |

| - PERMITS, TICKETS or LICENCES REQUIRED TO PERFORM WORK |  |  |
| --- | --- | --- |
| Role / Task | Training, Permit, Ticket or Licence |  |
| Workers | Company Induction, General Construction Induction |  |
| Working from over 2m | General Work from Heights Training |  |
| Operating EWP | EWP Competency Certificate OR Crane and Hoist operation - Class: WP |  |
| 6 and 12 monthly Inspection of Travel restraint systems | Height Safety Equipment Inspector |  |
| 6 and 12 monthly Inspection of fall arrest systems | Height Safety Equipment Inspector |  |

| - LEGISLATION AUSTRALIAN STANDARDS AND CODES OF PRACTICE TO BE COMPLIED WITH |  |
| --- | --- |
| QUEENSLAND | NATIONAL |
| Work Health and Safety Act 2011 | AS/NZS 1891.1:2007/Amdt 2:2008 Industrial Fall-Arrest Systems and Devices - Harnesses and ancillary equipment |
| Work Health and Safety Regulation 2011 | AS/NZS 1891.3:1997 Industrial Fall-Arrest Systems and Devices - Fall Arrest Devices |
| Electrical Safety Act 2002 (Qld) | AS/NZS 1891.4:2009 Industrial Fall-Arrest Systems and Devices - Selection, Use and Maintenance |
| Electrical Safety Regulation 2013 (Qld) | AS 2550.1-2011 Cranes, hoists and winches – Safe use – General Requirements |
| Electrical Safety Code of Practice 2010 – Working Near Overhead and Underground Electric Lines | AS 2550.10-2006/Amdt 1-2009 Cranes, hoists and winches - Safe use - Mobile elevating work platforms |
| Managing Noise and Preventing Hearing Loss at Work Code of Practice 2011 | AS 1418.10:2011/Amdt 1:2017 Cranes, hoists and winches – Mobile elevating work platforms |
| Hazardous Manual Tasks Code of Practice 2011 | AS/NZS 1577:2013 Scaffold decking components |
| Managing the Risk of Falls at Workplaces Code of Practice 2011 | AS/NZS 1576.1:2010 Scaffolding – General Requirements |
| How to Manage Work Health and Safety Risks Code of Practice 2011 | AS/NZS 3760 :2010/Amdt 2:2012 In-Service Safety Inspection and Testing of Electrical Equipment |
| Managing Risks of Hazardous Chemicals in the Workplace Code of Practice 2013 | AS/NZS 1418.10:2011 Cranes, hoists and winches – Mobile Elevating Work Platforms |
|  | AS/NZS 4576:1995 Guidelines for Scaffolding |
| Scaffolding Code of Practice 2011 | AS/NZS 1892.5: 2000 Portable ladders - Selection, safe use and care |
| How to Manage Work Health and Safety Risks Code of Practice 2011 | AS/NZS 1562.1-2006 Design and installation of sheet roof and wall cladding |
| Managing Risks of Plant in the Workplace Code of Practice 2013 |  |
| WHS Consultation, Cooperation and Coordination Code of Practice 2011 |  |
| How to Manage and Control Asbestos in the Workplace Code of Practice 2011 |  |
| How to Safely Remove Asbestos Code of Practice 2011 |  |

| - APPROVAL |  |  |  |
| --- | --- | --- | --- |
| I hereby accept the controls as detailed in the below risk assessments and confirm that controls will be implemented and complied with. |  |  |  |
|  | APPROVED BY | REVIEWED PRIOR TO WORK COMMENCING (Client/PC Representative) | REVIEWED ON SITE PRIOR TO COMMENCING WORK (Project Manager) |
| NAME |  |  |  |
| SIGNATURE |  |  |  |
| DATE |  |  |  |

## Installing Partitions

| PROJECT RISKS AND CONTROLS – Tick  or cross  the far left column to indicate whether the step is relevant to this project |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  or  | TASK/ACTIVITY STEPS | HAZARD/RISK | RISK SCORE BEFORE | CONTROL MEASURES | RISK SCORE AFTER |  |
|  | - Install new partitions | Use of Power Tools | E 80 | All electrical equipment to be tagged and inspected for damage before use. Leads will be placed where they will not be damaged. Existing electrical services to be located accurately to prevent contact damage and electric shock. |  | M 48 |
|  |  | Hearing loss (Cutting metal & using impact drill) | E 80 | Cutting activities will be separated from other workers where possible. Workers cutting metal and using hammer drills to wear hearing protection. Subcontractors are expected to cut as much metal as possible off site. Noise levels which disturb other trades or Client workers will be isolated or work performed when the least amount of people will be affected i.e. out of business hours. Subcontractors ill inform other workers before activities commence. |  | L 40 |
|  |  | Eye damage (Cutting metal & using impact drill and regular drill overhead) | E 72 | Subcontractors are expected to wear eye protection when carrying out these tasks. |  | L40 |
|  |  | Falls to same level (Slips, trips, falls over objects, etc.) | H 60 | Subcontractors are expected to maintain a clear, clean-working area. Adequate waste disposal will be provided. |  | L40 |
|  |  | Falls to lower level (Falls from ladders, scaffolding, | E 72 | Documented work method statements for work where a person could fall more than 2 metres must be supplied to the PC or Client before work commences. Project Manager will review documentation and monitor compliance to stated safe work procedures. |  | M 52 |
|  |  | Manual Handling | H 60 | Workers will use correct lifting or manual handling techniques, team lifting or mechanical lifting aids. Project Manager will monitor compliance to safe procedures. |  | L 40 |
|  |  | Lacerations (Hitting, handling sharp objects) | H 60 | Protect fixed sharp edges. Wear gloves as necessary. |  | L 32 |

## Safety Agreement – Page 1

I have been consulted with in the creation of the above risk assessment, understand and agree to comply with the WHS Management Plan, Safe Work Method Statements, Work Instructions, site rules, and other safety strategies in place on this site. I will discuss any site-specific safety concerns with the job Project Manager.

| NAME | POSITION | INDUCTION DATE | SIGNATURE |
| --- | --- | --- | --- |

## Safety Agreement – Page 2

I have been consulted with in the creation of the above risk assessment, understand and agree to comply with the WHS Management Plan, Safe Work Method Statements, Work Instructions, site rules, and other safety strategies in place on this site. I will discuss any site-specific safety concerns with the job Project Manager.

| NAME | POSITION | INDUCTION DATE | SIGNATURE |
| --- | --- | --- | --- |